LSO Annual Laser Safety Self-Inspection Checklist

LSO is responsible for ensuring that an annual inspection is conducted. The LSO must evaluate and incorporate any updates issued by OSHA or WAC, as well as any internally generated documentation prompted by specific conditions. These conditions include, but are not limited to:

- Workplace accidents

- Near-miss incidents

- Modifications to equipment, procedures, or facilities

- Any other significant process changes

The review will also occur upon the earliest of these events.

Inspected by:

Date:

Annual Inspection Items

| Documentation & Training | Yes | No | N/A |
| --- | --- | --- | --- |
| Are all authorized users registered with the laser safety program and listed in the SOP? |  |  |  |
| Are all authorized users current with their training? |  |  |  |
| Have the lasers listed as authorized on the SOP been changed (new Class 4 laser added, laser removed from service, etc.)? |  |  |  |
| Have the operations and configuration of any authorized lasers changed in a significant manner (e.g., change in layout, configuration, brand, etc.)? |  |  |  |
| Are written instructions for using machine, performing minor repairs, and setting up the laser equipment kept with the machine? |  |  |  |
| Have all laser accidents, incidents, or near misses been documented? |  |  |  |
| Has the “Per Use Checklist” been reviewed and updated as needed? |  |  |  |
| Postings and Communication |  |  |  |
| Do Class 4 lasers have signs that say you need to wear eye protection to use them? Are they legible? |  |  |  |
| Is protective eyewear available and correct for wavelengths in use and marked with wavelength and optical density? |  |  |  |
| Are laser-controlled areas posted and equipment labeled with approved signs and labels? |  |  |  |
| Is access to laser controlled to prevent persons being accidentally exposed to the laser beams by posting or controlling the entrance? |  |  |  |
| Safety Conditions |  |  |  |
| Is the protective machine housing in good condition, and have the interlocks been tested? If not, have other safety controls been reviewed by the Laser Safety Officer and included in the procedures? |  |  |  |
| Protective eyewear is appropriate for laser operation and is clean/ free of damage? |  |  |  |
| Are barriers/screens (if present) non-combustible & no burn holes? |  |  |  |
| Are all wires, cables covered and circuits protected? Are the cables placed so no one can trip over them? |  |  |  |
| Review Brand Operation Manual for maintenance schedule? |  |  |  |
| Inspect ventilation system for proper operation. |  |  |  |

List any other safety deficiencies found

List corrective actions taken for any identified deficiencies

Other notes